## Worksheet 1
| Measurement | Instrument | Manufacturer | Sample flow | Time | Mode of
|  |  |  | (L min−1) | resolution | operation
UAV | Particle size distribution (0.35–40 µm) | OPC-N3 | Alphasense UK | 5.5 | 1.6 s | 24 size bin
| T and RH | ChipCap 2 sensor | Telaire |  | 1 s
| Pressure, wind speed, and direction | eBee sensors | AgEagle Aerial Systems Inc. |  | 1 s
| Lat and long |  |  |  | 1 s
Balloon | Backscatter ratio (455 and 940 nm) | COBALD | IAC (ETH Zürich) |  | 1 s
| Ozone | Electrochemical concentration cell (ECC) | JOSIE |  | 1 s
| Water vapor | Cryogenic frostpoint hygrometer (CFH) | EnSci (Vömel et al., , ) |  | 1 s
| Temperature | Vaisala RS41-SGP | Vaisala |  | 1 s
| Altitude, lat, long, and horizontal wind |  |  |  | 1 s