## Worksheet 1
Sensor | 25 May | 6 June | 9 August | 19 August | 30 August
AE511408 | ±1 mL min−1 |  |  |  | ±1 mL min−1, could not reach max 250 mL min−1
AE511409 | ±1 mL min−1 |  |  |  | ±1 mL min−1
MA200 | passed |  |  |  | failed, +4 mL min−1
MA350 | passed |  | passed flow calibration, inlet was | inlet blocked and inlet | inlet tube fixed, no flow adjustments, data unusable
|  |  | blocked starting 22 July, | tube disconnected
irregularities from 19 July
OBS1 | ±2 mL min−1 | checked |  | ±1 mL min−1 | ±2 mL min−1
OBS2 | ±1 mL min−1 | checked |  | ±1 mL min−1 | ±2 mL min−1
OBS3 | ±1 mL min−1 |  |  | ±1 mL min−1 | ±2 mL min−1
OBS4 | ±1 mL min−1 |  |  | ±1 mL min−1 | ±2 mL min−1